## Salelist 2025년 08월
Hot Sale List Date. 2025-08
상태 | 품명 | 제조사 | 모델명 | Opt | 내용 | Sale List 가격
중고/Used | 5G Basestation Analyzer | Anritsu | MS2090A | 31/90/104/199/714/883/888 | 9kHz - 14GHz | 12000000
중고/Used | AC Ground tester | GwinstEK | GCT-630 |  | AC 3A ~ 32A, MAX 8V AC Typically | 1100000
중고/Used | Active Probe | Tektronix | P6204 |  | DC to 1GHz | 150000
중고/Used | Attenuator | Weinschel | 24-10-34 |  | 8,5GHz, 50W, 10dB | 100000
중고/Used | Attenuator | Bird | 300-WA-FFN-40 |  | 300W Fixed Attenuator N(f)-N(f) 40dB, 2.4GHz | 200000
중고/Used | Attenuator | Weinschel | 45-30-33 |  | 1.5G, 250W, 30dB | 200000
중고/Used | Attenuator | Weinschel | 48-10-34 |  | 18GHz, 100W, 10dB | 200000
중고/Used | Attenuator | JFW | 50FH-010-10 |  | 4GHz, 10W, 10dB, N(m)-N(f) | 100000
중고/Used | Attenuator | JFW | 50FH-020-10 |  | 4GHz, 10W, 20dB, N(m)-N(f) | 100000
중고/Used | Attenuator | JFW | 50FHC-010-20 |  | 4GHz, 20W, 10dB, N(m)-N(f) | 100000
중고/Used | Attenuator | JFW | 50FHC-020-20 |  | 4GHz, 20W, 20dB, N(m)-N(f) | 100000
중고/Used | Attenuator | Weinschel | 58-10-34-LIM |  | 6GHz, 250W, 10dB, IM opt | 200000
중고/Used | Attenuator | Weinschel | 58-20-34 |  | 5GHz, 250W, 20dB | 200000
중고/Used | Attenuator | Weinschel | 58-30-43-LIM |  | 6GHz, 250W, 30dB, IM opt | 200000
중고/Used | Attenuator | Narda | 765-10 |  | 5GHz, 50W, 10dB | 100000
중고/Used | Attenuator | Narda | 766-10 |  | 4GHz, 20W, 10dB, N(f)-N(m) | 100000
중고/Used | Attenuator | Narda | 766-3 |  | 4GHz, 20W, 3dB, N(f)-N(m) | 100000
중고/Used | Attenuator | Narda | 769-20 |  | 6G, 150W, 20dB | 100000
중고/Used | Attenuator | Weinschel Associates | WA33-30 |  | 8.5GHz, 25W, 30dB, N(m-f) , DIN(m-f) | 200000
중고/Used | Attenuator Switch Unit | HP | 11713A |  | 100, 120/220, 240Vac; 48-440 Hz operation; 80 VA (max.) | 200000
중고/Used | Audio Analyzer | HP | 8903B |  | 100KHz | 800000
중고/Used | AWG | Tektronix | AWG2040 | 1/09/03 | 1.024 GS/sec Clock Rate Provides up to 500 MHz Waveforms | 1000000
중고/Used | Battery Analyzer | Powertron | IBEX2000 |  | 0.1 ~ 60Vdc, 0.01 ~ 300mΩ, -20℃ ~ 80℃ | 700000
중고/Used | Battery Analyzer | Powertron | IBEX3000 |  | 0.1 ~ 60Vdc, 0.01 ~ 300mΩ, -20℃ ~ 80℃ | 900000
중고/Used | Bluetooth tester | R&S | CBT | K52/K54/K55/B41/B55 | in temperature range +5 °C to +45 °C | 7000000
중고/Used | Bluetooth tester | Anritsu | MT8852A |  |  | 7000000
중고/Used | Bluetooth tester | Tescom | TC-3000A | 10/20/30/40 |  | 3000000
중고/Used | Bluetooth tester | Tescom | TC-3000A | 10/20/40 |  | 1500000
중고/Used | Copper Testing | EXFO | MAX-610 |  |  | 1000000
중고/Used | Coupler | Narda | 3022 |  |  | 200000
중고/Used | Current Probe | Tektronix | TCP0030A |  |  | 2700000
중고/Used | Current Probe | Tektronix | TCP202 |  | DC~50MHz, Peak 50A, Permanent DC 30A | 1200000
중고/Used | Current Probe | Tektronix | TCP312 |  | TCPA300과 함께 판매 가능 (가격별도) | 1000000
중고/Used | Current Probe Amp. | Tektronix | TCPA300 |  | TCP312와 함께 판매 가능 (가격별도) | 1100000
중고/Used | Data Acquisition Module | Agilent | 34901A | Module | 20CH Multiplexer | 200000
중고/Used | Data Acquisition Module | Agilent | 34903A | Module | 20CH Actuato/GP Switch | 100000
중고/Used | Data Acquisition Module | Keysight | 34903A | Module | 20CH Actuato/GP Switch | 100000
중고/Used | Data Acquisition Unit | Agilent/HP | 34970A |  |  | 600000
중고/Used | DC Power Module | Agilent | N6751A |  |  | 500000
중고/Used | Differential Preamplifier | Tektronix | ADA400A |  | Tekprobe BNC | 1500000
중고/Used | Earth Continuity Tester | Kikusui | TOS6210 |  |  | 3500000
중고/Used | Earth tester | Megger | DET2/2 |  |  | 2500000
중고/Used | Electronic Load | Fujitsu Denso | EML-03B |  | 150W-120V-30A-3ch | 1800000
중고/Used | Electronic Load | Fujitsu Denso | EML-05B |  | 150W-500V-7.5A-4ch | 2500000
중고/Used | Electronic Load | Itech | IT8512 |  | 120V, 30A, 300W | 450000
중고/Used | Electronic Load | Kikusui | PLZ303WH |  | 500V, 15A, 300W | 800000
중고/Used | Electronic Load | Kikusui | PLZ664WA |  | 150V, 132A, 660W | 2700000
중고/Used | Electronic Load | Texio | LW75-151QV1A |  | 75W/150V/15A, 4ch, | 800000
중고/Used | Electronic Load | Kikusui | PLZ-152WA |  | 110V, 30A, 150W | 600000
중고/Used | Electronic Load | Kikusui | PLZ-153WH |  | 500V, 7.5A, 150W | 700000
중고/Used | Electronic Load | Kikusui | PLZ-164W |  | 165W, 33A, 165W | 1000000
중고/Used | ESS Simulator | NoiseKen | ESS-2000 |  |  | 5500000
중고/Used | Frequency Counter | HP | 53131A |  | 0.1Hz~225MHz | 400000
중고/Used | Frequency Counter | Agilent | 53132A |  | 0.1Hz~225MHz | 750000
중고/Used | Frequency Counter | HP | 53181A |  | 0.1Hz~225MHz | 400000
중고/Used | Function Counter | Agilent | 53181A |  | 0.1Hz~225MHz | 400000
중고/Used | Function Generator | Agilent | 33210A |  | 10Mhz | 800000
중고/Used | Function Generator | Agilent | 33220A |  | 1uHz - 20MHz | 1200000
중고/Used | GPIB-USB | Agilent | 82357B |  |  | 350000
중고/Used | GPS Signal Generator | Spirent | GSS6300 | GPS/SBAS/GLONASS/GALILEO |  | 10000000
중고/Used | High Voltage Probe | Tektronix | P6015A |  | 20kV,1000X | 1300000
중고/Used | Impedance Analyzer | Agilent | E4991A |  |  | 20000000
중고/Used | LCR Meter | NF | 2331TI |  |  | 1000000
중고/Used | LCR Meter | Agilent/HP | 4263B |  | 100 Hz ~ 100 kHz | 1400000
중고/Used | LCR Meter | Agilent/HP | 4285A |  | 75kHz~30MHz | 4000000
중고/Used | LCR Meter | Fluke | PM6304 | 021 | 50Hz~100kHz | 1000000
중고/Used | LCR Meter | Fluke | PM6304 | 003 | 1mHz~100kHz | 1000000
중고/Used | Logic Analyzer | Agilent | 16902B |  |  | 2000000
중고/Used | LTE Wireless Comms tester | Aeroflex | 7100 |  |  | 3000000
중고/Used | Mobile Corder | Yokogawa | MV220 | MV220-1-2-2-1F | 20CH | 1500000
중고/Used | Mobile Test Analyzer | R&S | AMU200A |  | Base Band Signal And Fading Simulator | 2000000
중고/Used | Multimeter | Fluke | 45 |  |  | 400000
중고/Used | Multimeter | Keithley | 2000 |  |  | 500000
중고/Used | Multimeter | Agilent | 34401A |  | 6.5 Digit, 1000V, 3A | 500000
중고/Used | Multimeter | HP | 34401A |  | 6.5 Digit, 1000V, 3A | 450000
중고/Used | Multimeter | Agilent | 34410A |  |  | 800000
중고/Used | Multimeter | Keysight | 34410A |  |  | 1100000
중고/Used | Multimeter | Agilent | 34411A |  | 6.5 Digit, 100mV to 1,000V, 3A, 3Hz to 300kHz | 1200000
중고/Used | Multimeter | Keysight | 34461A | GPB | 6.5 Digit, 1000V, 10A | 1000000
중고/Used | Multimeter | Fluke | 8842A |  | AC 750V, DC 1kV | 300000
중고/Used | Multimeter | Fluke | 8846A |  | 6.5 Digit, 1000V, 10A | 1200000
중고/Used | Multimeter | EZ | DM-441B |  | 4.5 digit | 100000
중고/Used | Multimeter | Tektronix | DMM4050 |  | 6.5 Digit, 1000V, 10A | 1000000
중고/Used | Multimeter | GWInstek | GDM-8261A |  | 6.5 Digit, 1000V, 10A | 700000
중고/Used | Network Analyzer | Agilent | 4396B | 706/800 | 100kHz~1.8GHz, 706:No Time-Gated Spectrum Analysis / 800: Standard Frequency Reference | 3000000
중고/Used | Network Analyzer | HP | 8753D | 1D5/002/006/010 | 30 kHz ~ 6 GHz | 3500000
중고/Used | Network Analyzer | HP | 8753E |  | 30 kHz ~ 3 GHz | 3000000
중고/Used | Network Analyzer | Agilent | 8753ES | 1D5 | 30 kHz ~ 3 GHz | 3500000
중고/Used | Network Analyzer | Agilent | E5071B | 016/1E5/414 | 300kHz~8.5GHz | 8500000
중고/Used | Network Analyzer | Keysight | E5072A | 017/1E5/285 | 30kHz~8.5GHz, 2port | 25000000
중고/Used | Network Analyzer | Agilent | E5100A | 001/010 | 180MHz | 800000
중고/Used | Network Analyzer | HP | E5100A | 001/010 | 180MHz | 800000
중고/Used | Network Analyzer | Agilent | E5100B | 002/006/010/1D5/S01 | 300MHz | 2200000
중고/Used | Network Analyzer | Anritsu | MS46121A | 006 | USB 1-port, 150kHz - 6GHz | 900000
중고/Used | Network Analyzer | Advantest | R3754B/01/10 |  | 150 MHz | 600000
중고/Used | Noise Figure Analyzer | Agilent | N8973A |  | 3GHz | 3500000
중고/Used | Ohm Meter | ADEX | AX-111A |  |  | 800000
중고/Used | Optical / OTDR | Yokogawa | AQ7275 |  | SM 1,310/1,550㎚, 3㎱~20㎲ | 2500000
중고/Used | Optical / OTDR | Fiscan | Fiscan9 |  | Multi: 850/1300nm, Single: 1310/1550nm | 1200000
중고/Used | Optical Attenuator | Anritsu | MN9610B |  | 1100~1650 nm | 400000
중고/Used | Optical Laser Sources | Anritsu | CMA5/L2-35 |  | 1310/1550 nm ±20 nm | 1000000
중고/Used | Optical Light Source | Ando | AQ-4303B |  | 400 to 1800 nm | 2000000
중고/Used | Optical Power meter | JDSU | OLP-35 |  | 780~1650nm, -65~+10dBm | 300000
중고/Used | Optical Power meter | JDSU | OLP-38 |  | 850~1625nm, -50~+26dBm | 350000
중고/Used | Optical Spectrum Analyzer | Anritsu | MS9740B/001/037 |  | 600nm ~ 1750nm, +23dBm | 22000000
중고/Used | Oscilloscope | Fluke | 190-102 |  | 100MHz, 2CH, 1.25GS/s | 1000000
중고/Used | Oscilloscope | HP | 54600B |  | 100MHz, 2CH | 100000
중고/Used | Oscilloscope | Yokogawa | DL9040 |  | 500MHz, 4CH | 3500000
중고/Used | Oscilloscope | Yokogawa | DL9505L |  | 500MHz, 4CH+16CH | 7000000
중고/Used | Oscilloscope | Tektronix | DPO2002B |  | 70MHz, 2CH | 1000000
중고/Used | Oscilloscope | Tektronix | DPO2004B |  | 70MHz, 4CH | 1400000
중고/Used | Oscilloscope | Tektronix | DPO2012 |  | 100MHz, 2CH | 1100000
중고/Used | Oscilloscope | Tektronix | DPO3054 |  | 500MHZ, 2.5GS/s, 4CH | 5000000
중고/Used | Oscilloscope | Tektronix | DPO4034 |  | 350MHz, 4CH | 4250000
중고/Used | Oscilloscope | Agilent | DSO6014A | 2ML | 100MHz, 2GSa/s, 4ch | 1000000
중고/Used | Oscilloscope | Agilent | DSO6034A |  | 300MHz, 4CH, | 2500000
중고/Used | Oscilloscope | Agilent | DSO7054A |  | 500MHZ, 4CH | 6000000
중고/Used | Oscilloscope | Agilent | DSO-X2012A | 001/DVM | 100MHz, 2CH, MAX Sampling Rate 2GSm/s | 1000000
중고/Used | Oscilloscope | Tektronix | MSO2012 |  | 100MHz,2CH, 1GS/S | 1200000
중고/Used | Oscilloscope | Agilent | MSO6104A | 8MH | 1GHz, 4+16CH | 5200000
중고/Used | Oscilloscope | Tektronix | TBS1102B |  | 100MHz, 2CH | 900000
중고/Used | Oscilloscope | Tektronix | TBS1202B |  | 200MHz, 2CH, 2GS/s | 1400000
중고/Used | Oscilloscope | Tektronix | TDS2004C |  | 70MHz, 4CH | 900000
중고/Used | Oscilloscope | Tektronix | TDS2012B |  | 100MHz, 2CH | 800000
중고/Used | Oscilloscope | Tektronix | TDS2012C |  | 100MHz, 2CH | 900000
중고/Used | Oscilloscope | Tektronix | TDS2014 |  | 100MHz, 4CH | 900000
중고/Used | Oscilloscope | Tektronix | TDS2014B |  | 100MHz, 4CH | 1000000
중고/Used | Oscilloscope | Tektronix | TDS2022B |  | 200MHz, 2CH | 900000
중고/Used | Oscilloscope | Tektronix | TDS2022C |  | 200MHz, 2CH | 1400000
중고/Used | Oscilloscope | Tektronix | TDS2024B |  | 200MHz, 4CH | 1500000
중고/Used | Oscilloscope | Tektronix | TDS220 |  | 100MHz, 2CH | 400000
중고/Used | Oscilloscope | Tektronix | TDS3012 |  | 100MHz, 2CH | 800000
중고/Used | Oscilloscope | Tektronix | TDS3012B |  | 100MHz, 2CH | 800000
중고/Used | Oscilloscope | Tektronix | TDS3012C |  | 100MHz, 2CH | 1900000
중고/Used | Oscilloscope | Tektronix | TDS3014 |  | 100MHz, 4CH | 1000000
중고/Used | Oscilloscope | Tektronix | TDS3014B |  | 100MHz, 4CH | 1100000
중고/Used | Oscilloscope | Tektronix | TDS3032 |  | 300MHz, 2CH | 1000000
중고/Used | Oscilloscope | Tektronix | TDS3032B |  | 300MHz, 2CH | 1100000
중고/Used | Oscilloscope | Tektronix | TDS3032C |  | 300MHz 2CH, USB | 3000000
중고/Used | Oscilloscope | Tektronix | TDS3052 |  | 500MHz, 2CH | 1200000
중고/Used | Oscilloscope | Tektronix | TDS3052B |  | 500MHz, 2CH | 1400000
중고/Used | Oscilloscope | Tektronix | TDS3052C |  | 500MHz, 2CH | 3800000
중고/Used | Oscilloscope | Tektronix | TDS3054 |  | 500MHz, 4CH | 1700000
중고/Used | Oscilloscope | Tektronix | TDS380 |  | 400MHz, 2CH | 200000
중고/Used | Oscilloscope | Tektronix | TDS520C |  | 500MHz, 2CH | 500000
중고/Used | Oscilloscope | Tektronix | TDS7054 |  | 500MHz, 4CH, 5GS/s | 2000000
중고/Used | Oscilloscope | Tektronix | TDS7104 |  | 1GHz, 4CH | 2000000
중고/Used | Oscilloscope | Tektronix | TDS7404B |  | 4GHz, 4CH, 20Gs/s | 7000000
중고/Used | Oscilloscope | Tektronix | TDS744A |  | 500MHz, 4CH | 1300000
중고/Used | Oscilloscope | Tektronix | TDS754C | 13/1F/HD/2M/2F/2C/4C | 500MHz, 4CH | 1500000
중고/Used | Oscilloscope | Tektronix | TDS754D | A1 | 500MHz, 4CH | 1300000
중고/Used | Power Analyzer | N4L | PPA2530 |  | 3CH | 7000000
중고/Used | Power Supply | Yokogawa | 7651 | 01 | 10mV~30V/5 range, 1mA~100mA/3 range | 850000
중고/Used | Power Supply | HP | 6543A |  | 35V, 6A | 400000
중고/Used | Power Supply | Agilent | 6611C |  | 8V, 5A | 300000
중고/Used | Power Supply | Agilent | 6627A |  | 20V/2A or 50V/0.8A | 300000
중고/Used | Power Supply | Agilent | 66319B |  | 15V, 3A | 300000
중고/Used | Power Supply | Agilent | 66319D |  | 15V/3A, 12V/1.5A | 500000
중고/Used | Power Supply | Agilent | 6673A |  | 35V, 60A | 1600000
중고/Used | Power Supply | HP | 6673A |  | 35V, 60A | 1500000
중고/Used | Power Supply | Agilent | 6811B |  | 375 VA, 300 V, 3.25 A | 1700000
중고/Used | Power Supply | Metronix | DMR20-2 |  | 20V/2A, 1ch | 250000
중고/Used | Power Supply | Digital | DRP-3020D |  | 30V/20A | 250000
중고/Used | Power Supply | Agilent | E3610A |  | Output 1: 8V/3A or 15V/2A / Total 30W | 90000
중고/Used | Power Supply | Agilent | E3617A |  | 60V/1A | 150000
중고/Used | Power Supply | Agilent | E3620A |  | 25V, 1A, Triple out | 110000
중고/Used | Power Supply | Agilent | E3630A |  | 35W, Triple | 100000
중고/Used | Power Supply | Agilent | E3631A |  | 6V/5A, ±25V/1A | 650000
중고/Used | Power Supply | Keysight | E3631A |  | 5V5A / +-25V1A | 700000
중고/Used | Power Supply | HP | E3640A |  | 8V/3A, 20V/1.5A | 350000
중고/Used | Power Supply | Keysight | E3640A |  | 20V - 3A, 30W | 350000
중고/Used | Power Supply | Agilent | E3641A |  | 5V, 0.8A or 60V, 0.5A | 400000
중고/Used | Power Supply | Agilent | E3643A |  | 35V/1.4A, 60V/0.8A | 500000
중고/Used | Power Supply | Agilent | E3648A |  | 8V/5A, 20V/2.5A | 700000
중고/Used | Power Supply | Takasago | EX-1500H2 |  | 240V 25A 1500W | 1500000
중고/Used | Power Supply | Takasago | EX-375H2 |  | 240V, 6.3A | 500000
중고/Used | Power Supply | Takasago | EX-375U2 |  | 1ch, 0~500V/0~2A, 375W | 500000
중고/Used | Power Supply | Takasago | EX-750L2 |  | 60V/50A, 750W, 1ch | 700000
중고/Used | Power Supply | Vupower | IPS-18B10 |  | 18V/10A | 150000
중고/Used | Power Supply | Agilent | N6700B |  |  | 1000000
중고/Used | Power Supply | Kikusui | PAN16-10A |  | 16V,10A, 110V전용 | 150000
중고/Used | Power Supply | Kikusui | PAS40-9 |  | 40V, 9A | 500000
중고/Used | Power Supply | Kikusui | PCR500L |  |  | 2200000
중고/Used | Power Supply | Kikusui | PCR500LA |  | 500W, Max out(100V/200V) : 5A/2.5A | 2500000
중고/Used | Power Supply | EZ | PDP-1507 |  | 15V, 7A | 100000
중고/Used | Power Supply | GWInstek | PPH-1503 |  | 15V/3A, 9V/5A | 700000
중고/Used | Power Supply | GWInstek | PST-3202 |  | 32V/2A(2ch), 6V/5A(1ch) | 500000
중고/Used | Power Supply | Texio | PSW-720L80 |  | 720W, 80V-13.5A , 26.6V-27A | 1400000
중고/Used | Power Supply | Kenwood | PW18-3ADP |  | 18V,3A | 200000
중고/Used | Power Supply | Advantest | R6142 |  | DC Voltage/Current Generator | 450000
중고/Used | Power Supply | Advantest | R6144 |  | DC Voltage/Current Generator | 600000
중고/Used | Power Supply | TMS | TSP6035 | 6674A대체가능 | 60V, 35A,usb | 700000
중고/Used | Power Supply | Takasago | ZX-1600HA |  | 640V, 20A, 1.6kW | 1700000
중고/Used | Pulse Generator | HP | 8116A |  | 50MHz | 500000
중고/Used | RF Amplifier | Keysight | 33502A |  |  | 3000000
중고/Used | RF Power Meter | Bird | 5000 |  |  | 200000
중고/Used | RF Power Meter | Agilent | E4417A |  | 2CH Frequency range: 9 kHz to 110 GHz Power range: -70 to +44 dBm | 2200000
중고/Used | RF Power Meter | Agilent | E4418B |  | Freq.Range 100 kHz ~ 110 GHz | 700000
중고/Used | Scanner | ADCMT | 7210 |  |  | 800000
중고/Used | ScopeCorder | Yokogawa | SL1400(701240) | M-J3-HJ/C8/C10/P4 | 10MS/s | 1800000
중고/Used | Signal Analyzer | Agilent | 4352B | 001 | 10MHz~3GHz | 1300000
중고/Used | Signal Generator | HP | E4422A |  | 250kHz - 4GHz | 1200000
중고/Used | Signal Generator | Agilent | E4432B |  | 250KHz~3GHz | 1400000
중고/Used | Signal Generator | HP | E4432B |  | 250KHz~3GHz | 1300000
중고/Used | Signal Generator | Agilent | E4438C | 503 | 250kHz - 3GHz | 3300000
중고/Used | Signal Generator | Agilent | E4438C | 504 | 250kHz - 4GHz | 3500000
중고/Used | Signal Generator | IFR/Aeroflex | IFR3413 | 03/05/21 | 250kHz - 3GHz | 2700000
중고/Used | Signal Generator | Anritsu | MG3633A |  | 2.7GHz | 500000
중고/Used | Signal Generator | Keysight | N5172B | N5172B/221/222/506/653 | 6GHz | 18000000
중고/Used | Signal generator | Panasonic | VP-8400A |  | NTSC + PAL Signal generator | 300000
중고/Used | Site Master | Anritsu | S331L |  | 2MHz~4GHz | 3300000
중고/Used | Solar Array Simulator | Agilent | E4350B |  | 60V, 8A | 1500000
중고/Used | Spectrometer | Minolta | CS-1000A |  |  | 4500000
중고/Used | Spectrum Analyzer | HP | 8562B | 001/003 | 22GHz | 3000000
중고/Used | Spectrum Analyzer | HP | 8562E |  | 13.2GHz | 2500000
중고/Used | Spectrum Analyzer | Agilent | 8563EC | 007 | 26.5GHz | 5500000
중고/Used | Spectrum Analyzer | Agilent | E4404B | 1D5/1DR/1DS/A4H/B72/(AYX) | 9kHz - 6.7GHz | 3500000
중고/Used | Spectrum Analyzer | HP | E4404B | 1D5/1DR/A4H | 9kHz~6.7GHz | 4500000
중고/Used | Spectrum Analyzer | Agilent | E4405B | 120/1D5/1DR/1DS | 9kHz~13.2GHz | 5500000
중고/Used | Spectrum Analyzer | Agilent | E4407B | 1D5/1DR/1DS/B72/UKB/227 | 26.5GHz | 7500000
중고/Used | Spectrum Analyzer | Viavi | JD745B |  | 100kHz ~ 4 GHz | 2000000
중고/Used | Spectrum Analyzer | Agilent | N9320B |  | 9kHz ~ 3GHz | 3800000
중고/Used | Temcell | Tescom | TC-5060A |  | 100MHz~3GHz | 500000
중고/Used | Termination | Bird | 100-T-FN |  | 3GHz, 100W | 100000
중고/Used | Termination | Aeroflex/Weinschel | 1439-3 |  | 2.5G, 150W | 100000
중고/Used | Universal Counter | Agilent | 53132A | 012/050 | 225MHz, 5GHz(N Type) | 1600000
중고/Used | USB Power Sensor | Agilent | U2001A | 100 | 10 MHz ~ 6 GHz | 1500000
중고/Used | UV light source | Hamamatsu | L9588-01-02 |  |  | 2000000
중고/Used | Waveform Generator | Keysight | 33509B |  | 20MHz, 1CH | 1500000
중고/Used | Waveform Generator | Agilent | 33510B |  | 20MHz, 2CH | 2000000
중고/Used | Waveform Generator | Keysight | 33510B |  | 20MHz, 2CH | 2100000
중고/Used | Waveform Generator | Agilent | 33521B |  | 30MHz, 1CH | 2000000
중고/Used | Wireless Channel Emulator | Spirent | SR5500M |  |  | 5000000
중고/Used | WLAN Tester | R&S | PTW70 |  |  | 3500000
중고/Used | 노트북 | 삼성 | NT371B5L | in Box | 15.6", i5-6300HQ 2.30GHz, RAM:8GB, SSD:256GB, OS:Win10pro(64bit), 한컴오피스 2010. MS오피스2013 | 250000
중고/Used | 모니터 | NFCNC | SM-240 BEZEL-LESS |  | 24인치 | 45000
중고/Used | 열화상카메라 | CEM | DT-982Y |  | 외장Mini Sdcard, -20 ~ 350도, 160*120, 알람지원 한글지원(X) | 1200000
중고/Used | 열화상카메라 | ICI | T-Cam 80P |  | 외장Mini Sdcard, -20 ~ 350도, 80*80, 한글지원(X) | 400000
신품/new | Attenuator | Bird | 10-A-MFN-20 |  | 10W 20dB N(m)-N(f) DC~4GHz | 120000
신품/new | Clamp Meter | Agilent | U1212A |  | 재고할인, 400~1000V, 40~1000A | 365600
신품/new | Insulation Tester | Agilent | U1453A |  | 재고할인, 1000V, 260GΩ | 877700
신품/new | LCR Meter (Package) | Agilent | U1732P |  | 재고할인, 20pF~20mF, 20uH~2000H, 2Ω~200MΩ | 486700
신품/new | Network Analyzer | Keysight | E5071C(In Box) | 019/285/UNQ | 8.5GHz, 2port, Win10, Black body | 19000000